This Permit is for excavations in “Complex” ground conditions; very weak or sensitive soils, groundwater requiring specialist dewatering, or locations near structures or sensitive infrastructure. 
Also to be used for all excavations over 6m depth in any ground conditions.

For all other cases, use DG-ZH-FM043.1 Excavation and Ground Penetration Permit – Normal.

| SECTION 1 – Permit details |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Project/ Site Name |  |  |  |  |  |  | Applicant Name |  |  |  | Dale Hogg |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Supervisor Name |  |  |  | Herman Cronje |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Permit Number |  |  |  |  |  |  | W/O Number |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date |  |  |  |  |  |  | Permit Expiry Date |  |  |  |  |  |  |  |  | Time |  |  |  |  |  |  |  |  |  |
| Before You Dig Job No. |  |  |  |  |  |  | Plan Start Date |  |  |  |  |  |  |  |  | Plan End Date |  |  |  |  |  |  |  |  |  |
| Job Scope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SECTION 2 – hazard identification |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Task-specific hazards | ☐ Underground Services |  |  | ☐ Ground/ slope/ trench collapse |  |  |  | ☐ Water |  |  |  | ☐ Falling objects |  |  |  |  |  |  | Adequately covered in SWMS or equivalent? |  |  |  |  | ☒ Yes ☐ No |  |
|  | ☐ Fall to depth |  |  | ☐ Mobile plant (PPI) |  |  |  | ☐ Contaminated atmosphere |  |  |  | ☐ Overhead services |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Site specific hazards | ☐ Protected tree/ area |  |  | ☐ Sediment/ waterway |  |  |  | ☐ Ground contamination |  |  |  | ☐ Corridor access |  |  |  |  |  |  | Adequately covered in Daily Risk Review? |  |  |  |  | ☒ Yes ☐ No |  |
|  | ☐ Close approach |  |  | ☐ Adjacent structure |  |  |  | ☐ Adjacent operations |  |  |  | ☐ Other: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SECTION 3 – notification requirements |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | YES |  |  |  | No |
| Does the asset owner require notification? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ☐ |  |  |  | ☐ |
| If Yes to above, has the asset owner been contacted? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ☐ |  |  |  | ☐ |
| Is a Notification to Authorities/ Regulator required in this location? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ☐ |  |  |  | ☐ |
| If Yes to above, has it been completed and submitted? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ☐ |  |  |  | ☐ |
| Utility Provider Representation: Which asset owners or customer representatives are contacted or required on site? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ☐ Telecommunications |  |  | ☐ Gas |  |  |  |  |  | ☐ Electricity |  |  |  |  |  |  |  |  | ☐ Water |  |  |  |  |  |  |  |
| ☐ Roads Authority |  |  | ☐ Council |  |  |  |  |  | ☐ Other: |  |  |  |  |  |  |  |  | ☐ None |  |  |  |  |  |  |  |
| SECTION 4 – service identification |  |  |  |  |  |  |  |  |  |  | yes |  | no |  | hold point |  |  |  |  |  |  |  |  |  |  |
| Have you conducted a walk around and site inspection looking for evidence of underground infrastructure? |  |  |  |  |  |  |  |  |  |  | ☒ |  | ☐ |  | If “No” do not proceed |  |  |  |  |  |  |  |  |  |  |
| Have underground infrastructure diagrams such as Before You Dig, As-builts, past excavation reports or GFIS drawings etc. been attached and reviewed? |  |  |  |  |  |  |  |  |  |  | ☒ |  | ☐ |  | If “No”, discuss with supervisor about suitability of controls before proceeding. |  |  |  |  |  |  |  |  |  |  |
| Have all identified underground infrastructure (Specify in table below) with the potential to impact on works been identified, electronically located, surface marked and/or physically proven? |  |  |  |  |  |  |  |  |  |  | ☐ |  | ☐ |  | If “No”, do not proceed |  |  |  |  |  |  |  |  |  |  |
| Moderate Risk Services |  |  |  |  | High Risk Services |  |  |  |  |  |  |  |  | Extreme Risk Services |  |  |  |  |  |  |  |  |  |  |  |
| ☐ Telecommunication Service |  |  |  |  | ☐ Telecommunications main |  |  |  |  |  |  |  |  | ☐ Oil/ petroleum pipeline |  |  |  |  |  |  |  |  |  |  |  |
| ☐ Gravity/ low pressure water |  |  |  |  | ☐ Water transmission line |  |  |  |  |  |  |  |  | ☐ Any gas infrastructure |  |  |  |  |  |  |  |  |  |  |  |
| ☐ Atmospheric sewer/ stormwater |  |  |  |  | ☐ Fire services |  |  |  |  |  |  |  |  | ☐ Any electrical infrastructure |  |  |  |  |  |  |  |  |  |  |  |
| ☐ Grey water/ irrigation/ septic |  |  |  |  | ☐ Pressurised sewer/ stormwater |  |  |  |  |  |  |  |  | ☐ Geothermal/ steam |  |  |  |  |  |  |  |  |  |  |  |
| ☒ Other: |  |  |  |  | ☐ Other: |  |  |  |  |  |  |  |  | ☐ Other: |  |  |  |  |  |  |  |  |  |  |  |
| SECTION 5 – non-destructive digging |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | yes |  |  | no |  | hold point |  |  |  |
| Refer to ANNEX G of Excavation and Ground Disturbance Standard for pot-holing requirements |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Have all identified infrastructure which may impact the work been physically located and identified through using pot-holing, hydro excavation or other NDD techniques? * If all reasonable steps have been taken to physically identify known underground infrastructure and they cannot be located, discuss with supervisor about suitability of controls before proceeding |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ☐ |  |  | ☐ |  | If “No”, do not proceed |  |  |  |
| Are controls to prevent inadvertent contact with underground infrastructure in the Safe Work Method Statement or equivalent? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ☒ |  |  | ☐ |  |  |  |  |  |
| Have safe approach distances been established and communicated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ☒ |  |  | ☐ |  |  |  |  |  |
| SECTION 6 – indicative depth of present underground infrastructure |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | Sketch / mud map (attach additional sheets as required) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SECTION 7 – ground support and structures |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | yes |  |  | no |  | hold point |  |  |  |
| For digging in, near and/or around building structures, materials, foundations and adjacent areas, has an assessment been completed by a Competent Person? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ☐ |  |  | ☐ |  | If “No”, do not proceed |  |  |  |
| Are ground support installers trained and competent for complex excavations? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ☐ |  |  | ☐ |  |  |  |  |  |
| Where specialist dewatering methods are required, is it available? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ☐ |  |  | ☐ |  |  |  |  |  |
| Where a ground support system is required, is it available and able to be installed? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ☐ |  |  | ☐ |  |  |  |  |  |
| Detail the method of ground support: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SECTION 8 – environment and heritage considerations |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | yes |  |  | no |  | hold point |  |  |  |
| Have tree protection zones been identified and communicated? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ☐ |  |  | ☐ |  | If required and not complete, do no proceed |  |  |  |
| Have erosion and sediment controls been installed as required? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ☐ |  |  | ☐ |  |  |  |  |  |
| Have heritage and site-specific features been identified and communicated? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ☐ |  |  | ☐ |  |  |  |  |  |
| Is a Land Disturbance Permit required and attached? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ☐ |  |  | ☐ |  |  |  |  |  |
| SECTION 9 – MAIN PHASE considerations |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | yes |  |  | no |  | hold point |  |  |  |
| Has the ground support system been installed as per the excavation design and is it fit for purpose? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ☐ |  |  | ☐ |  | Do not proceed until verified by a competent person |  |  |  |
| Where changes are required to the excavation design or ground support system, has the competent person reviewed and signed off the design? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ☐ |  |  | ☐ |  |  |  |  |  |

| SECTION 10 – permit authorisation |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Notes / Instruction |  |  | Service Location |  | Non-Destructive Digging |  | Main Phase |  | Closure |  |
| E.g. comment on method, scope, timing, etc. |  |  |  |  |  |  |  |  |  |  |
| Permit Issuer |  |  |  |  |  |  |  |  |  |  |
| Permit Receiver |  |  |  |  |  |  |  |  |  |  |
| Section 11 – DAILY EXCAVATION INSPECTION - Completed by Permit Holder |  |  |  |  |  |  |  |  |  |  |
| I certify I have carried out a daily inspection of excavation and the soils around and the integrity has not been compromised by any environmental conditions, construction activities or adjacent road/railways. I will stop the work if the excavation becomes unsafe due to any external factor i.e. weather |  |  |  |  |  |  |  |  |  |  |
| Date: | Time: | Name: |  | Initial: | Date: | Time: |  | Name: |  | Initial: |